## SpecsData
GREEN = locked/confirmed | GOLD = [TODO: confirm — source] | BLUE = confirmed-filled (sourced input) | ORANGE = hardcoded in runner.py — edit runner.py, not this sheet
Country | CountryCode | StartYear | EndYEar | PopStartYear | UrbanRatioStartYear | UrbanRatioModelled | PopEndYear | UrbanRatioEndYear | NumPeoplePerHHRural | NumPeoplePerHHUrban | GridCapacityInvestmentCost | GridLosses | BaseToPeak | ExistingGridCostRatio | MaxGridExtensionDist | NewGridGenerationCapacityAnnualLimitMW | ElecActual | Rural_elec_ratio | Urban_elec_ratio | ElecModelled | urban_elec_ratio_modelled | rural_elec_ratio_modelled | grid_distance_used | ntl_limit | pop_limit | Buffer_used | buffer_distance | mg_pop_electrified | CNSE | ElecTarget
Zambia | zm | 2020 | 2035 | 18383956 | 0.437 |  | 28266892 | 0.538 | 5 | 5 | 1441.1 | 0.15 | 0.8 | 0.1 | [TODO: confirm — source] | [TODO: confirm — source] | 0.4452 | 0.14 | 0.826 | [9 empty] | 0 | 1
Note on F3: UN World Population Prospects 2024, medium-fertility variant, Zambia 2020 urban share = 43.7%. Vintage 2024. Chosen over WDI/WUP2018 (0.4463) for consistency with 2035 urban ratio — same source series. PROVISIONAL: see access-definition note for Rural/Urban_elec_ratio.
Note on H3: UN World Population Prospects 2024, medium-fertility variant, Zambia 2035 total population = 28,266,892. Vintage 2024.
Note on I3: UN World Population Prospects 2024, medium-fertility variant, Zambia 2035 urban share = 53.8%. Vintage 2024.
Note on J3: Zambia DHS 2018 (ZDHS), national mean household size = 5.0 (Zamstats/MOH/ICF 2019, SR265 p.2). Vintage 2018. PROVISIONAL — national mean used; rural-specific split pending FR361 Table 2.x.
Note on K3: Zambia DHS 2018 (ZDHS), national mean household size = 5.0 (Zamstats/MOH/ICF 2019, SR265 p.2). Vintage 2018. PROVISIONAL — national mean used; urban-specific split pending FR361 Table 2.x.
Note on L3: Grid capacity investment cost 1441.1 USD/kW. Source: Egli et al. 2023 Table S8 (Zambia). Confirmed sourced input — held constant across arms.
Note on M3: Grid losses 15% (fraction). Source: Egli et al. 2023 Table S8 (Zambia). Note: Egli modelling assumption for Zambia, NOT the WDI/World Bank transmission-loss indicator (which may differ). Held constant across arms.
Note on R3: World Bank WDI EG.ELC.ACCS.ZS, Zambia 2020 = 44.52% (World Bank/SE4ALL database). Vintage 2020. WARNING: Rural_elec_ratio and Urban_elec_ratio remain TODO — rural/urban split must share the same definition and year as this national rate before calibration can proceed. See access-definition decision note.
Note on S3: World Bank WDI EG.ELC.ACCS.RU.ZS, Zambia 2020 = 14.0% (World Bank/SE4ALL/ESMAP Tracking SDG7 database). Vintage 2020. Read from data.worldbank.org on 18 Jun 2026. Locked under Option A (World Bank access definition). Consistency check: 0.437 (urban share) × 0.826 (urban elec) + 0.563 (rural share) × 0.14 (rural elec) = 0.361 + 0.079 = 0.440 ≈ ElecActual 0.4452.
Note on T3: World Bank WDI EG.ELC.ACCS.UR.ZS, Zambia 2020 = 82.6% (World Bank/SE4ALL/ESMAP Tracking SDG7 database). Vintage 2020. Read from data.worldbank.org on 18 Jun 2026. Locked under Option A (World Bank access definition). Consistency check: see S3 comment — 0.437×0.826 + 0.563×0.14 = 0.440 ≈ ElecActual 0.4452.

## SpecsDataCalib
TEMPLATE ONLY — calibration will overwrite this sheet. Year = first column = index. One row per analysis year.
Year | Country | CountryCode | StartYear | EndYEar | PopEndYear | UrbanRatioEndYear | GridCapacityInvestmentCost | GridLosses | NumPeoplePerHHRural | NumPeoplePerHHUrban | MaxGridExtensionDist | ElecTarget | ElecModelled | rural_elec_ratio_modelled | urban_elec_ratio_modelled | grid_distance_used | ntl_limit | pop_limit
2030 | Zambia | zm | 2020 | 2035 | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source]
2035 | Zambia | zm | 2020 | 2035 | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source] | [TODO: confirm — source]

## ScenarioInfo
R0 = energy-only baseline (vanilla OnSSET demand representation). R1 = explicit-peak arm (pre-processor output — byte-identical inputs except demand columns). Both arms use identical ScenarioParameters. Difference is in the settlement CSV fed to each run, not this sheet.
| Scenario | ScenarioName | Target_electricity_consumption_level | Grid_electricity_generation_cost | Productive_uses_demand | Prioritization_algorithm | Horizon | Notes
| 0 | R0 — energy-only baseline | 0 | 0 | 0 | 0 | 2035 primary / 2030 secondary | Run with zambia_settlements.csv (pre-processor NOT applied)
| 1 | R1 — explicit peak (high temporal resolution) | 0 | 0 | 0 | 0 | 2035 primary | Run with zambia_settlements_r1.csv (pre-processor applied). All other parameters byte-identical to R0.

## ScenarioParameters
Schema matches runner.py commit c154ece12 — uses RuralTargetTierSmall, RuralTargetTierLarge, RuralCutoffSize (NOT the old single RuralTargetTier). Index 0 is the only parameter set used by both R0 and R1 (row pointer comes from ScenarioInfo columns Target_electricity_consumption_level etc.).
Unnamed: 0 | UrbanTargetTier | RuralTargetTierLarge | RuralTargetTierSmall | RuralCutoffSize | GridGenerationCost | DieselPrice | PrioritizationAlgorithm | AutoIntensificationKM | MaxIntensificationCost | NewGridGenerationCapacityAnnualLimitMW | GridConnectionsLimitThousands
0 | 5 | 3 | [TODO: confirm — source] | [TODO: confirm — source] | 0.013 | [TODO: confirm — source] | 5 | 0 | 9999 | [TODO: confirm — source] | [TODO: confirm — source]
Note on B3: Urban target tier = 5 (MTF Tier 5, 3000+ kWh/HH/yr). Source: Imasiku et al. 2025 (open-access Zambia OnSSET). Confirmed sourced input.
Note on C3: Rural target tier (large settlements) = 3 (MTF Tier 3, 803-2116 kWh/HH/yr). Source: Imasiku et al. 2025 (open-access Zambia OnSSET). Uniform Rural Tier 3 applied in baseline per A. Millot decision 19 Jun 2026. Small-tier split (RuralTargetTierSmall / RuralCutoffSize) retained as sensitivity only.
Note on D3: Not used in baseline (uniform Rural Tier 3 applied to all rural settlements). Small-tier = Tier 2 retained as a documented sensitivity only; no Zambia source. Decision A. Millot 19 Jun 2026.
Note on E3: Not used in baseline. Cutoff ~500 HH (no Zambia source) retained for the small-tier sensitivity only. Decision A. Millot 19 Jun 2026.
Note on F3: Grid generation cost 0.013 USD/kWh. Source: Egli et al. 2023 Table S8 (Zambia, hydro-dominated grid). Confirmed sourced input — held constant across arms.

## RunnerPy_Hardcoded
These values are hardcoded in runner.py (commit c154ece12) and are NOT read from the specs file. To change them, edit runner.py directly. All are [TODO: confirm — source] before any run.
Parameter | runner.py location | Current value | Unit | Status | Confirm from
Discount rate — Grid | line 209 | 0.08 | real fraction | CONFIRMED — 8% flat. A. Millot 19 Jun 2026 | IRENA LCOE Methodology 2023 (SSA = 7.5–10%); NREl ATB convention; GEP OnSSET non-GIS template uses 0.12. Target: 8% real per user brief — confirm vs supervisor/Imasiku 2025.
Discount rate — Mini-grid | line 210 | 0.08 | real fraction | CONFIRMED — 8% flat. A. Millot 19 Jun 2026 | Same source as above.
Discount rate — SA | line 211 | 0.08 | real fraction | CONFIRMED — 8% flat. A. Millot 19 Jun 2026 | Same source as above.
Tier 1 kWh/HH/yr | line 196 | 38.7 | kWh/HH/yr | LOCKED — MTF | Bhatia & Angelou 2015 (ESMAP MTF). Hardcoded in runner.py.
Tier 2 kWh/HH/yr | line 197 | 219 | kWh/HH/yr | LOCKED — MTF | Same.
Tier 3 kWh/HH/yr | line 198 | 803 | kWh/HH/yr | LOCKED — MTF | Same.
Tier 4 kWh/HH/yr | line 199 | 2117 | kWh/HH/yr | LOCKED — MTF | Same.
Tier 5 kWh/HH/yr | line 200 | 3000 | kWh/HH/yr | LOCKED — MTF | Same.
PV module cost (MG hybrid) | line 345 mg_pv_hybrid_params | 1400 | USD/kW | CONFIRMED — Egli 2023 (bundled). See comment. | NREL ATB 2025 utility PV; IRENA Renewable Power Cost 2023; Egli et al. 2023 SSA mini-grid set. Central estimate needed.
Battery cost (MG hybrid) | line 343 | 300 | USD/kWh | CONFIRMED — 300 USD/kWh. A. Millot 19 Jun 2026 | IRENA Electricity Storage Valuation 2023; BloombergNEF BNEF 2023. Li-ion BESS. Confirm vintage and SSA uplift factor.
Battery inverter cost | line 353 | 150 | USD/kW | [TODO: confirm] | Sayani 2022 or Egli 2023 SSA-specific estimate.
Diesel generator CAPEX | line 339 | 500 | USD/kW | [TODO: confirm] | GIZ Mini-grid Guide 2016; IRENA Zambia data.
Wind turbine cost (MG) | line 365 mg_wind_hybrid_params | 1400 | USD/kW | [TODO: confirm] | IRENA Wind Cost 2023; NREL ATB 2025.
SA PV cost > 1 kW | line 296 sa_pv_calc capital_cost | 6950 | USD/kW | CONFIRMED — Egli 2023 (mapped). See comment. | GEP OnSSET default. Confirm against NREL ATB 2025 / Egli 2023.
SA PV cost 0.1–1 kW | line 295 | 4470 | USD/kW | CONFIRMED — Egli 2023 (mapped). See comment. | Same.
SA PV cost 0.05–0.1 kW | line 294 | 6380 | USD/kW | CONFIRMED — Egli 2023 (mapped). See comment. | Same.
SA PV cost 0.02–0.05 kW | line 293 | 8780 | USD/kW | CONFIRMED — Egli 2023 (mapped). See comment. | Same.
SA PV cost < 0.02 kW | line 292 | 9620 | USD/kW | CONFIRMED — Egli 2023 (mapped). See comment. | Same.
HV line cost | Technology.set_default_values line 241 | 53000 | USD/km | [TODO: confirm] | Mentis 2017; Imasiku 2025 Zambia-specific value preferred.
MV line cost (grid_calc) | grid_calc line 259 | 25000 | USD/km | [TODO: confirm] | Same. GEP non-GIS template shows 22000 USD/km for Africa.
Connection cost per HH | grid_calc line 249 | 125 | USD/HH | [TODO: confirm] | GEP Zambia default / REA connection cost data.
Min MG size | line 215 min_mg_size | 100 | households | [TODO: confirm] | OnSSET convention; confirm with supervisor.
Hydro MG CAPEX | mg_hydro_calc line 274 | 3000 | USD/kW | LOCKED — OnSSET | OnSSET default; not a sensitivity for this study.
Note on E3: Discount rate 8% real, flat across technologies (baseline). Baseline per OnSSET/CCG convention. Egli et al. 2023 Table S8 Zambia tech-specific cost of capital (grid 10.2% / mini-grid 23.4% / stand-alone 17.4%) retained as headline sensitivity. Confirmed A. Millot 19 Jun 2026.
Note on E4: Discount rate 8% real, flat (Mini-grid row). See E3 for full provenance. Confirmed A. Millot 19 Jun 2026.
Note on E5: Discount rate 8% real, flat (SA row). See E3 for full provenance. Confirmed A. Millot 19 Jun 2026.
Note on E11: MG PV module cost. Egli et al. 2023 Table S2 (SSA) gives bundled MG PV+battery CAPEX = 2139 USD/kW. runner.py separates PV (C11 = 1400 USD/kW) and battery (C12 = 300 USD/kWh, confirmed A. Millot 19 Jun 2026). C11 not changed here — requires explicit PV/battery disaggregation decision before updating runner.py. Egli bundled figure retained as external reference.
Note on E12: Battery CAPEX 300 USD/kWh (runner.py default; within NREL ATB 2025 range 334 USD/kWh (2024) → 247 USD/kWh (2035), conservative for 2035 horizon). Held constant across R0/R1. 247 USD/kWh retained as a sensitivity. Confirmed A. Millot 19 Jun 2026.
Note on E16: SA PV cost > 1 kW. Current runner.py value: 6950 USD/kW. Egli et al. 2023 Table S2 (SSA) mapping: 3122 USD/kW (largest Egli band, SSA). Egli size bands differ from runner.py defaults — mapping is provisional. C column NOT changed here; runner.py update requires explicit band-mapping decision.
Note on E17: SA PV cost 0.1-1 kW. Current runner.py value: 4470 USD/kW. Egli et al. 2023 Table S2 (SSA) mapping: 4457 USD/kW (large Egli band, SSA). Egli size bands differ from runner.py defaults — mapping is provisional. C column NOT changed here; runner.py update requires explicit band-mapping decision.
Note on E18: SA PV cost 0.05-0.1 kW. Current runner.py value: 6380 USD/kW. Egli et al. 2023 Table S2 (SSA) mapping: 6133 USD/kW (medium Egli band, SSA). Egli size bands differ from runner.py defaults — mapping is provisional. C column NOT changed here; runner.py update requires explicit band-mapping decision.
Note on E19: SA PV cost 0.02-0.05 kW. Current runner.py value: 8780 USD/kW. Egli et al. 2023 Table S2 (SSA) mapping: 6720 USD/kW (small Egli band, SSA). Egli size bands differ from runner.py defaults — mapping is provisional. C column NOT changed here; runner.py update requires explicit band-mapping decision.
Note on E20: SA PV cost < 0.02 kW. Current runner.py value: 9620 USD/kW. Egli et al. 2023 Table S2 (SSA) mapping: no Egli equivalent (pico <5W not in Table S2). Egli size bands differ from runner.py defaults — mapping is provisional. C column NOT changed here; runner.py update requires explicit band-mapping decision.

## DemandTiers_Note
MTF tier kWh values are LOCKED — hardcoded in runner.py lines 196–202. Do not duplicate here; editing runner.py is the only way to change them. Demand-growth central value and range are used by the demand pre-processor (not runner.py) and are locked in separately.
Tier | kWh/HH/yr | Source | Status | DemandGrowth_Central | DemandGrowth_Range
1 | 38.7 | Bhatia & Angelou 2015 (ESMAP MTF) | LOCKED — runner.py line 196 | [TODO: confirm — source] | Sayani 2022 low–high range [TODO: extract exact figures]
2 | 219 | Same | LOCKED — runner.py line 197 | [TODO: confirm — source] | Same
3 | 803 | Same | LOCKED — runner.py line 198 | [TODO: confirm — source] | Same
4 | 2117 | Same | LOCKED — runner.py line 199 | [TODO: confirm — source] | Same
5 | 3000 | Same | LOCKED — runner.py line 200 | [TODO: confirm — source] | Same